## Sheet1
Importance (1-3)
| Class |  | Residential-Window |  |  | Residential-Ductless | [14 empty] | RV-Roof | [14 empty] | RV-Built-in
| Brand |  | Amana |  |  | Pioneer (Midea) |  |  |  | LG |  |  |  | Gree |  |  |  | Hotspot |  |  | Coleman |  |  | Coleman |  |  | RecPro |  |  | RecPro |  |  | Nomadic |  |  | Pioneer |  |  | CruiseNcomfort | [19 empty] | Cooling Cost Efficiency OR
| MSRP | $US |  | 270 |  |  | 788 |  |  |  | 870 |  |  |  | 2034 |  |  |  | 2095 |  |  | 870 |  |  | 1130 |  |  | 1150 |  |  | 2646 |  |  | 5379 |  |  | 1199 |  |  | 4398 | [18 empty] | Heating+Cooling Cost Efficiency |  |  |  | 2 | 2
| System Type |  | Packaged-Window A/C |  |  | Mini-Split A/C & Heat Pump |  |  |  | Minisplit A/C & Heat Pump |  |  |  | Minisplit A/C & Heat Pump |  |  |  | Mini-Split A/C & Heat Pump |  |  | Packaged A/C |  |  | Packaged A/C |  |  | Packaged A/C + Heat Pump |  |  | Packaged A/C |  |  | Packaged A/C |  |  | Packaged A/C + Heat Pump |  |  | Split System A/C | [19 empty] | Noise |  |  |  | 1 | 3
| Model Number |  | 8000 |  |  | WYS009AMFI19HLD |  |  |  | LS090HXV2 |  |  |  | AP09HP230V1A |  |  |  | DC4812VRF |  |  | Mach 3+ |  |  | Mach 10 |  |  | RP-AC3800 |  |  | RP-AC-12V |  |  | 3000 |  |  | PYR009AZFRVBKE |  |  | HD12L | [19 empty] | Energy Efficiency |  |  |  | 3 | 1
| Nominal Capacity | kBTU | 8 |  |  | 9 |  |  |  | 9 |  |  |  | 9 |  |  |  | 12 |  |  | 13.5 |  |  | 13.5 |  |  | 13.5 |  |  | 16.5 |  |  | 11.83 |  |  | 9 |  |  | 8
| Compressor Type |  | Induc. 1Ph/1Spd/Scroll |  |  | Induc. 3Ph/Variable Spd/Scroll |  |  |  | Induc. 3Ph/Variable Spd/Scroll |  |  |  | Induc. 3Ph/Variable Spd/2 stage Scroll |  |  |  | BLDC/Variable Spd/Scroll |  |  | Induc. 1Ph/1Spd/Piston |  |  | Induc. 1Ph/2Spd/Piston |  |  | Induc. 1Ph/1spd/scroll |  |  | BLDC/1spd/Scroll |  |  | BLDC/2spd/Scroll |  |  | Induc. 1Ph/1Spd/Piston? |  |  | BLDC/1Spd/Scroll
| Refrigerant/Expansion device |  | R410a/MCT |  |  | R410a/EEV |  |  |  | R410a/EEV |  |  |  | R410a/EEV |  |  |  | R410a/EEV |  |  | R410a/MCT |  |  | R410a/MCT |  |  | R410a/TXV |  |  | R134a/TXV |  |  | R134a/TXV |  |  | R410a/? |  |  | R134a/?
| Rated Voltage |  | 110VAC |  |  | 110VAC |  |  |  | 110VAC |  |  |  | 230VAC |  |  |  | 46-59VDC |  |  | 110VAC |  |  | 110VAC |  |  | 115VAC |  |  | 12VDC |  |  | 12VDC |  |  | 110VAC + 12VDC |  |  | 12.8VDC
|  |  | Low | Medium | High | Low | Medium | High | Turbo | Low | Medium | High | Jet Mode | Low | Medium | High | Turbo | Low | Medium | High | Low | Medium | High | Low | Medium | High | Low | Medium | High | Low | Medium | High | Low | Medium | High | Low | Medium | High | Low | Medium | High
| Capacity Range | kBTU |  |  | 8 | 5.8 |  | 9 | 10.3 | 3.07 |  | 9 | 10.33 | 1.5 |  | 9 | 13 | 3.6 |  | 12 |  |  | 13.5 |  |  | 13.5 |  |  | 13.5 |  |  | 16.5 |  |  | 11.83 |  |  | 9 |  |  | 8
| Input Power | Watt |  |  | 661 | 292 |  | 782 | 1087 |  |  | 732 |  | 50 |  | 540 | 1400 | 294 | 560 | 980 |  |  | 1400 | 1216 |  | 1500 |  |  | 1610 |  |  | 1100 | 696 |  | 1200 |  |  | 995 |  |  | 627 |  |  | Volume Efficiency |  | Weight Efficiency |  | Wt/Vol |  | H+C Cost Effiency |  | Cool Cost Efficiency |  | Fan Capacity |  | Eff. Indoor Noise |  | Noise/Airflow Eff |  | Energy Eff Ratio |  | Raw
| SEER | kBTU | [5 empty] | 19.5 |  |  |  | 20 |  |  |  | 38 |  |  |  | 19.3 | [23 empty] | kBTU/CF | Rank | kBTU/lb | Rank | lb/cuft | Rank | kBTU/$ | Rank | kBTU/$ | Rank | Relative | Rank | Corr.dBA | Rank | CFM/dBA | Rank | EER | Rank | Score
| SCOP | kBTU | [17 empty] | 5.66
| EER |  |  |  | 12.1029 | 19.863 |  | 11.509 | 9.4756 |  |  | 12.2951 |  |  |  | 16.6667 |  |  |  | 12.2449 |  |  | 9.6429 |  |  | 9 |  |  | 8.57 |  |  | 15 |  |  | 9.8583 |  |  | 8.5 |  |  | 12.7592 | 1 | Amana Win | 3.2872 | 1 | 0.15686 | 5 | 20.9556 | 2 | 29.63 | 1 | 29.6296 | 1 | 103% | 7 | 41.7476 | 8 | 3.4333 | 11 | 11.1 | 6 | 46 | 38 | 34
| EER with 92% Inv inefficiency |  |  |  | 11.1346 | 18.274 |  | 10.5882 | 8.7176 |  |  | 11.3115 |  |  |  | 15.3333 | [6 empty] | 8.8714 |  |  | 8.28 |  |  | 7.8844 | [5 empty] | 9.0697 |  |  | 7.82 |  |  |  | 2 | Pioneer M-S | 1.5127 | 11 | 0.095238 | 11 | 15.8829 | 7 | 24.1117 | 2 | 11.4213 | 5 | 109.8% | 5 | 65.3846 | 4 | 6.5 | 4 | 10.6 | 7 | 32 | 31 | 37
| Operating Temp Range | Degrees Farenheit |  |  |  | 5 |  | 122 |  | 14 |  | 118 |  | 0 |  | 129 |  | 20 |  | 122 | [15 empty] | 64 |  | 104 |  |  |  | 3 | LG M-S | 1.9866 | 6 | 0.11598 | 9 | 17.1289 | 4 | 22.8736 | 3 | 10.3448 | 6 | 156.9% | 2 | 73.2295 | 2 | 9.8056 | 2 | 11.3 | 5 | 49 | 37 | 43
Heating | Rated Capacity | kBTU |  |  |  | 5.4 |  | 10 | 10.9 | 3.07 |  | 10.9 | 12.52 | 2.4 |  | 9 | 13.6 |  |  | 12.624 | Opt: Heat Strip |  | 5.6 | Opt: Heat Strip |  | 5.6 |  |  | 15 | [8 empty] | 9 |  |  |  | 4 | Gree M-S | 1.1449 | 12 | 0.069767 | 12 | 16.4108 | 6 | 8.8496 | 9 | 4.4248 | 10 | 188.4% | 1 | 79.3042 | 1 | 9.4222 | 3 | 15.3333 | 1 | 33 | 42 | 42 | `
| Input Power | Watt |  |  |  | 335 |  | 925 | 1100 |  |  | 875 |  | 200 |  | 590 | 1500 |  | 722 | 1050 |  |  | 1800 |  |  | 1800 |  |  | 1300 | [8 empty] | 810 |  |  |  | 5 | Hotspot M-S 48V | 2.1429 | 5 | 0.13 | 8 | 16.6077 | 5 | 11.7537 | 7 | 5.7279 | 9 | 137.3% | 3 | 71.6019 | 3 | 10.5641 | 1 | 12.2 | 4 | 43 | 33 | 35
| HSPF | [14 empty] | 15 |  |  |  | 9.6 | [21 empty] | 6 | Coleman RV M3+ | 1.7044 | 9 | 0.16265 | 4 | 10.479 | 10 | 15.52 | 4 | 15.5172 | 2 | 94.81% | 8 | 36.7188 | 9 | 6.3833 | 5 | 8.9 | 9 | 28 | 26 | 26
| COP |  |  |  |  | 4.7243 |  | 3.1685 | 2.9042 |  |  | 3.65 |  |  |  | 4.5 |  |  |  | 3.69 |  |  | 0.91181 |  |  | 0.91181 |  |  | 3.3817 | [8 empty] | 2.6 |  |  |  | 7 | Coleman RV M10 | 1.9857 | 7 | 0.14674 | 7 | 13.5321 | 8 | 11.95 | 6 | 11.9469 | 3 | 78.52% | 10 | 36.3208 | 10 | 5.3333 | 7 | 8.3 | 10 | 20 | 20 | 20
| Operating Temp Range | Degrees Farenheit |  |  |  | -13 |  | 86 |  | 14 |  | 65 |  | -22 |  | 75 |  | 5 |  | 90 | [6 empty] | 30 | [8 empty] | 19 |  | 86 |  |  |  | 8 | RecPro RV 3800 | 1.6199 | 10 | 0.17928 | 3 | 9.0353 | 12 | 11.74 | 8 | 11.7391 | 4 | 104% | 6 | 43.1731 | 7 | 5.3 | 8 | 7.9 | 11 | 19 | 18 | 26
Airflow | Indoor Fan Airflow | CFM | 171 | 188 | 206 | 129 | 182 | 247 |  | 148 | 264 | 353 | 459 | 206 |  | 424 |  | 235 | 295 | 412 |  |  | 320 |  |  | 265 |  |  | 351 |  |  | 285 |  |  | 383 |  |  | 206 |  |  | 360 | 9 | RecPro RV 12V | 1.9701 | 8 | 0.19412 | 1 | 10.1493 | 11 | 6.24 | 10 | 6.2358 | 8 | 69.09% | 11 | 5.9211 | 11 | 5.9391 | 6 | 15 | 2 | 20 | 33 | 15
| Indoor Fan Noise | dBA | 56 | 58 | 60 | 25 | 32 | 38 |  | 21 | 28 | 36 | 42 | 19 |  | 45 |  | 26 | 29 | 39 |  |  | 60 |  |  | 50 | 55.4 |  | 59.1 |  |  | 65 |  |  | 60 |  |  | 40 |  |  |  | 10 | Nomadic RV 12V | 2.4955 | 4 | 0.19393 | 2 | 12.8676 | 9 | 2.2 | 11 | 2.1993 | 11 | 129.5% | 4 | 53.6684 | 6 | 4.3846 | 10 | 9.1 | 8 | 23 | 14 | 18
| Outdoor Fan Airflow | CFM | [17 empty] | 1295 | [14 empty] | 618 | [6 empty] | 11 | Pioneer Bench | 2.7372 | 3 | 0.14754 | 6 | 18.5521 | 3 | 15.0125 | 5 | 7.5063 | 7 | 91.56% | 9 | 56.3107 | 5 | 5.15 | 9 | 7.8 | 12 | 29 | 11 | 25
| Outdoor Fan Noise | dBA | [13 empty] | 53 |  |  |  | 50 | [8 empty] | 72 |  |  | 73 | [9 empty] | 12 | CNC HD12L 12V | 2.8573 | 2 | 0.10499 | 10 | 27.2158 | 1 | 1.82 | 12 | 1.819 | 12 | 180% | #N/A | 100 | #N/A | #DIV/0! | #DIV/0! | 12.8 | 3 | #N/A | #N/A | #N/A
|  |  | Length | Depth | Height | Length | Depth | Height |  | Length | Depth | Height |  | Length | Depth | Height |  | Length | Depth | Height | Length | Width | Height | Length | Width | Height | Length | Width | Height | Length | Width | Height | Length | Width | Height | Length | Depth | Height | Length | Depth | Height
Physical | Indoor Dim | Inches | 18.6 | 17 | 13.3 | 28.5 | 7.375 | 11.375 |  | 32.925 | 7.425 | 12.125 |  | 39.5 | 8.875 | 12 |  | 32 | 8.6 | 11.5 | [6 empty] | 21.925 | 21.125 | 2.5 | 23.5 | 18 | 3 |  |  |  | 28.75 | 15.5 | 12.75 | 22.2 | 12.2 | 10.8
| Indoor Weight | Pounds |  |  | 51 |  |  | 22.5 |  |  |  | 19.2 |  |  |  | 29 |  |  |  | 22 | [5 empty] | * |  |  | 5 |  |  | 5 | [5 empty] | 61 |  |  | 64.5
| Outdoor Dim | Inches |  |  |  | 30.375 | 11.875 | 21.875 |  | 28.25 | 9.0625 | 19 |  | 33.25 | 12 | 23.5 |  | 30.4 | 10.2 | 21 | 38 | 26.1 | 13.8 | 38 | 26.2 | 11.8 | 39.325 | 26.75 | 13.69 | 48 | 33.5 | 9 | 37.75 | 31 | 7 |  |  |  | 26.38 | 4.94 | 14.68
| Outdor Weight | Pounds | [5 empty] | 72 |  |  |  | 58.4 |  |  |  | 100 |  |  |  | 71 |  |  | 83 |  |  | 92 |  |  | 75.3 |  |  | 85 |  |  | 61 | [5 empty] | 11.7
| Total Volume | Cubic Feet | 2.4337 |  |  | 5.9498 |  |  |  | 4.5304 |  |  |  | 7.8607 |  |  |  | 5.5998 |  |  | 7.9206 |  |  | 6.7987 |  |  | 8.334 |  |  | 8.375 |  |  | 4.7406 |  |  | 3.288 |  |  | 2.7998
| Total Weight | Pounds | 51 |  |  | 94.5 |  |  |  | 77.6 |  |  |  | 129 |  |  |  | 93 |  |  | 83 |  |  | 92 |  |  | 75.3 |  |  | 85 |  |  | 61 |  |  | 61 |  |  | 76.2
Calculated Characteristics (Bigger is better)
| Volume Efficiency (bigger is better) | kBTU/ CuFt |  |  | 3.2872 |  |  | 1.5127 |  |  |  | 1.9866 |  |  |  | 1.1449 |  |  |  | 2.1429 |  |  | 1.7044 |  |  | 1.9857 |  |  | 1.6199 |  |  | 1.9701 |  |  | 2.4955 |  |  | 2.7372 |  |  | 2.8573
| Weight Efficiency (Bigger is better) | kBTU/lb |  |  | 0.15686 |  |  | 0.095238 |  |  |  | 0.11598 |  |  |  | 0.069767 |  |  |  | 0.12903 |  |  | 0.16265 |  |  | 0.14674 |  |  | 0.17928 |  |  | 0.19412 |  |  | 0.19393 |  |  | 0.14754 |  |  | 0.10499
| Weight/volume | Lb/CF |  |  | 20.9556 |  |  | 15.8829 |  |  |  | 17.1289 |  |  |  | 16.4108 |  |  |  | 16.6077 |  |  | 10.479 |  |  | 13.5321 |  |  | 9.0353 |  |  | 10.1493 |  |  | 12.8676 |  |  | 18.5521 |  |  | 27.2158
| Heat+Cool Cost Efficiency | BTU/$ | [5 empty] | 24.1117 |  |  |  | 22.8736 |  |  |  | 8.8496 |  |  |  | 11.7537 | [17 empty] | 15.0125
| Cool Cost Efficiency | BTU/$ |  |  | 29.6296 |  |  | 11.4213 |  |  |  | 10.3448 |  |  |  | 4.4248 |  |  |  | 5.7279 |  |  | 15.5172 |  |  | 11.9469 |  |  | 11.7391 |  |  | 6.2358 |  |  | 2.1993 |  |  | 7.5063 |  |  | 1.819
| Fan Capacity vs Standard | Airflow Vs. Std (300CF/12kBTU) |  |  | 103% |  |  | 109.8% |  |  |  | 156.9% |  |  |  | 188.4% |  |  |  | 137.3% |  |  | 94.81% |  |  | 78.52% |  |  | 104% |  |  | 69.09% |  |  | 129.5% |  |  | 91.56% |  |  | 180%
| Fan Efficiency | CFM/dBA | 3.0536 | 3.2414 | 3.4333 |  |  | 6.5 |  |  |  | 9.8056 |  |  |  | 9.4222 |  | 9.0385 | 10.1724 | 10.5641 |  |  | 5.3333 |  |  | 5.3 |  |  | 5.9391 |  |  | 4.3846 |  |  | 6.3833 |  |  | 5.15 |  |  | #DIV/0!
| Dehumidify | Pt/Hr | 1.76 |  |  | 2.08 |  |  |  | 2.32 |  |  |  |  | 1.7 |  |  | 2 | [8 empty] | yes
| Coil Coating | [8 empty] | Gold Fin |  |  |  | Blue Fin |  |  |  | SeaSpray | [8 empty] | yes
| Warranty | System/Compressor | 1 |  |  | 5/5 |  |  |  | 5/10 | [7 empty] | 1/3 |  |  | 2 |  |  | 2 |  |  | 2 |  |  | 2 | [5 empty] | 5/5 |  |  | 1